Energy Saving Ideas for Appliances

Laundry

No Cost- Clean out dryer filters to make sure they’re not clogged. Clogging causes machine to work harder  and use more energy. Dirty filters also reduce equipments life.

Use cold water for washing clothes. 16% of a home’s energy bill goes to heating water.

Line dry your clothes whenever possible.

Clean the dryer’s lint screen after every load. Use less water for smaller loads and don’t over dry 	smaller loads.

Periodically inspect dryer vent to make sure it’s not clogged.

Low cost- Replace filter if necessary

High cost- Replace with Energy Star washer & dryer

Replace with front load washer that uses less water, energy, and detergent.

Kitchen

No Cost- Use microwave or toaster oven instead of conventional oven if possible.

Don’t open oven unless necessary, as the temperature drops 25-30 degrees each time.

Grill out during the summer to avoid heating your home with the oven.

Clean stove reflector pans regularly as they heat upward.

Thaw food before cooking it

Use tight fitting covers on pots & pans

Do not use small pots on large burners. Use burners that match the size of the pot.

Keep the inside of your microwave clean. It will cook more efficiently.

Only turn on dishwasher for full loads.

High Cost- Replace appliances with ENERGY STAR qualified appliances.

Refrigeration

No Cost- Cover liquids and food. Uncovered foods release moisture and force the compressor to work 	harder

Clean condenser coils monthly. Your refrigerator will run for shorter periods with clean coils.

Set refrigerator temperature to 40 degrees and freezer to 0 degrees.

Low cost- Replace refrigerator seals when necessary.

High cost- Replace refrigerator with ENERGY STAR qualified refrigerator. They use 40% less energy.

Insulation Savings

No cost - Inspect insulation, wherever possible, to ensure it is tight to all wood framing. This will reduce 	lost air between heated & unheated portions of the house.

Low cost - Use caulking & expanding foam to fill holes & gaps to the outside of your home. These can 	both be purchased at the local hardware store

Some cost - Add insulation to the attic. If it is less than 6” thick, you could benefit by adding more.

Insulate air ducts and heating pipes.

High cost - Insulate unfinished basement walls & crawlspaces.

Windows & doors Savings

No Cost -Lock all windows to get best possible seal.

Close curtains or shades at night; keep them open during the day.

Remove screens from windows in winter to get the sun’s full energy.

Low Cost - Seal & weather-strip windows and doors to ensure you’re not wasting energy on heat and AC 	through leaks.

Install temporary plastic over windows to reduce heat loss in winter.

Some cost - Install storm windows. They can reduce heat loss by 25-50%

High cost - Replace windows with low-e or ENERGY STAR windows.